## Sheet1
Quality Control Measurement Point
U of Chicago | Height | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | MIN | MAX | Average | Sigma | Max-Min | Notes | More Notes
Module UC001 | 291.7 | 291.67 | 291.67 | 291.62 | 291.31 | 291.04 | 290.93 | 290.86 | 290.86 | 290.88 | 291.01 | 291.24 | 291.54 | 291.62 | 291.62 | 291.74 | 291.67 | 291.52 | 291.18 | 290.9 | 290.62 | -1.08 | 0.04 | -0.425 | 0.36257 | 1.12 | shipped February 9, 2000 batch #2
UC002 | 291.7 | 290.78 | 291.11 | 291.16 | 291.11 | 291.06 | 291.01 | 290.5 | 290.45 | 290.76 | 290.76 | 290.76 | 290.76 | 290.65 | 290.32 | 290.81 | 290.96 | 291.02 | 291 | 290.88 | 290.67 | -1.38 | -0.54 | -0.8735 | 0.23272 | 0.84 | shipped November 28, 2000 batch #16
UC003 | 291.7 | 290.82 | 290.72 | 290.87 | 290.87 | 290.7 | 290.7 | 290.25 | 290.31 | 290.34 | 290.42 | 290.65 | 290.87 | 290.85 | 290.7 | 290.74 | 290.89 | 290.95 | 290.96 | 290.82 | 290.52 | -1.45 | -0.74 | -1.0025 | 0.21807 | 0.71 | shipped May 22, 2000 Batch #6
UC004 | 291.7 | 291.4 | 291.66 | 291.6 | 291.66 | 291.65 | 291.66 | 291.3 | 291.2 | 291.8 | 291.82 | 291.78 | 291.7 | 291.65 | 291.45 | 291.63 | 291.8 | 291.72 | 291.74 | 291.61 | 291.4 | -0.5 | 0.12 | -0.0885 | 0.17343 | 0.62 | shipped December 15, 1999 batch #1
UC005 | 291.7 | 290.92 | 291.01 | 291.01 | 291.01 | 290.92 | 290.8 | 290.8 | 290.5 | 291.01 | 291.02 | 291.12 | 291.23 | 291.23 | 291.9 | 290.98 | 291.11 | 291.03 | 290.97 | 290.78 | 290.6 | -1.2 | 0.2 | -0.7025 | 0.28064 | 1.4 | shipped May 22, 2000 Batch #6
UC006 | 291.7 | 291.67 | 291.62 | 291.98 | 291.98 | 291.96 | 291.94 | 291.37 | 291.54 | 291.98 | 291.92 | 291.92 | 291.71 | 291.49 | 291.31 | 291.43 | 291.36 | 291.67 | 291.63 | 291.4 | 291.14 | -0.56 | 0.28 | -0.049 | 0.26608 | 0.84 | shipped May 3, 2000 batch #5
UC007 | 291.7 | 290.88 | 291.02 | 291.1 | 291.01 | 290.68 | 290.56 | 290.14 | 289.9 | 290.49 | 290.64 | 290.8 | 290.87 | 290.88 | 290.76 | 290.76 | 290.68 | 290.79 | 290.79 | 290.6 | 290.39 | -1.8 | -0.6 | -1.013 | 0.2911 | 1.2 | shipped on June 14, 2000 batch #7 | very low at point 8 but to be used with high modules;
UC008 | 291.7 | 290.49 | 290.89 | 291.24 | 291.46 | 291.59 | 291.73 | 291.83 | 291.84 | 291.75 | 291.55 | 291.44 | 291.3 | 291.1 | 290.6 | 290.62 | 290.68 | 291.14 | 291.3 | 291.58 | 291.67 | -1.21 | 0.14 | -0.41 | 0.435 | 1.35 | shipped February 9, 2000 batch #2
UC009 | 291.7 | 290.82 | 291.07 | 291.08 | 291.01 | 290.93 | 290.88 | 290.77 | 290.74 | 290.9 | 291.03 | 291.09 | 291.17 | 291.21 | 291.08 | 290.97 | 290.83 | 290.99 | 290.94 | 290.87 | 290.82 | -0.96 | -0.49 | -0.74 | 0.13235 | 0.47 | Shipped June 14, 2000 batch #7
UC010 | 291.7 | 290.84 | 291.24 | 291.07 | 290.93 | 291.09 | 291.06 | 291.06 | 291.14 | 291.2 | 291.13 | 291.23 | 291.24 | 291.16 | 290.83 | 290.81 | 290.76 | 291.07 | 290.82 | 291.07 | 291.08 | -0.94 | -0.46 | -0.6585 | 0.1552 | 0.48 | Shipped June 14, 2000 batch #7
UC011 | 291.7 | 290.89 | 291.19 | 291.24 | 291.26 | 291.25 | 291.23 | 291.13 | 291.2 | 291.21 | 291.18 | 291.18 | 291.16 | 291.02 | 290.64 | 290.82 | 290.72 | 291.11 | 291.12 | 291.16 | 291.17 | -1.06 | -0.44 | -0.606 | 0.18141 | 0.62 | shipped February 9, 2000 batch #2
UC012 | 291.7 | 290.52 | 291.03 | 291.13 | 291.06 | 290.95 | 290.97 | 290.83 | 290.79 | 291.02 | 291.02 | 290.88 | 290.89 | 290.76 | 290.37 | 290.4 | 290.6 | 290.8 | 290.83 | 290.8 | 290.82 | -1.33 | -0.57 | -0.8765 | 0.21129 | 0.76 | Shipped June 14, 2000 batch #7
UC013 | 291.7 | 291.67 | 291.74 | 291.61 | 291.34 | 291.1 | 291.05 | 291.05 | 291.22 | 291.06 | 291.18 | 291.35 | 291.56 | 291.79 | 291.62 | 291.66 | 291.57 | 291.46 | 291.23 | 291.07 | 290.98 | -0.72 | 0.09 | -0.3345 | 0.27016 | 0.81 | shipped March 3, 2000 batch #3
UC014 | 291.7 | 290.89 | 291.01 | 291.26 | 291.11 | 291.06 | 290.99 | 290.67 | 290.65 | 290.94 | 291.09 | 291.13 | 291.12 | 291.18 | 290.86 | 290.98 | 291.06 | 291.23 | 291.08 | 291.06 | 290.96 | -1.05 | -0.44 | -0.6835 | 0.15978 | 0.61 | Shipped June 14, 2000 batch #7
UC015 | 291.7 | 291.65 | 291.67 | 291.56 | 291.36 | 291.13 | 291 | 290.87 | 290.93 | 290.94 | 291 | 291.29 | 291.42 | 291.52 | 291.58 | 291.65 | 291.53 | 291.42 | 291.17 | 291.05 | 290.87 | -0.83 | -0.03 | -0.4195 | 0.28825 | 0.8 | shipped February 9, 2000 batch #2
UC016 | 291.7 | 291.31 | 291.36 | 291.47 | 291.3 | 290.95 | 290.98 | 291.58 | 291.7 | 291.03 | 291.04 | 291.36 | 291.42 | 291.46 | 291.27 | 291.37 | 291.33 | 291.34 | 291.15 | 290.85 | 290.8 | -0.9 | 0 | -0.4465 | 0.2428 | 0.9 | shipped May 22, 2000 Batch #6
UC017 | 291.7 | 291.07 | 291.16 | 291.34 | 291.3 | 291.25 | 291.09 | 290.35 | 290.76 | 291.2 | 291.28 | 291.27 | 291.23 | 291.23 | 290.85 | 291.01 | 291.11 | 291.19 | 291.28 | 291.22 | 291.13 | -1.35 | -0.36 | -0.584 | 0.23275 | 0.99 | shipped March 28, 2000 batch # 4
UC018 | 291.7 | 291.31 | 291.2 | 291.28 | 291.13 | 290.97 | 290.83 | 290.32 | 290.51 | 290.81 | 290.91 | 291.12 | 291.2 | 291.28 | 291.19 | 291.31 | 291.22 | 291.24 | 291.12 | 290.97 | 290.83 | -1.38 | -0.39 | -0.6625 | 0.27096 | 0.99 | shipped February 9, 2000 batch #2
UC019 | 291.7 | 290.89 | 291.04 | 291.18 | 290.77 | 290.84 | 290.78 | 290.6 | 290.65 | 291.04 | 291.02 | 290.77 | 291.18 | 291.3 | 291 | 291.06 | 291.14 | 291.2 | 290.7 | 290.98 | 290.92 | -1.1 | -0.4 | -0.747 | 0.1985 | 0.7 | shipped December 15, 1999 batch #1
UC020 | 291.7 | 290.89 | 290.86 | 290.98 | 290.89 | 290.7 | 290.56 | 290.46 | 290.39 | 290.82 | 290.9 | 291.04 | 291.13 | 291.11 | 291.01 | 291.02 | 290.84 | 291.05 | 290.96 | 290.82 | 290.7 | -1.31 | -0.57 | -0.8435 | 0.20587 | 0.74 | shipped May 3, 2000 batch #5
UC021 | 291.7 | 290.8 | 291.1 | 291.11 | 291.02 | 290.93 | 290.76 | 290.25 | 290.51 | 290.71 | 290.84 | 290.97 | 291.04 | 291.1 | 290.97 | 290.92 | 291.1 | 291.09 | 291 | 290.87 | 290.71 | -1.45 | -0.59 | -0.81 | 0.22174 | 0.86 | shipped March 3, 2000 batch #3
UC022 | 291.7 | 290.76 | 290.98 | 291.11 | 290.74 | 290.92 | 290.84 | 290.37 | 290.45 | 290.75 | 290.8 | 290.53 | 291.01 | 291.08 | 290.73 | 290.74 | 291.06 | 291.07 | 290.6 | 290.91 | 290.78 | -1.33 | -0.59 | -0.8885 | 0.21199 | 0.74 | shipped May 3, 2000 batch #5
UC023 | 291.7 | 290.69 | 290.97 | 291.05 | 290.93 | 290.91 | 290.7 | 290.25 | 290.46 | 290.76 | 290.85 | 290.91 | 290.95 | 290.68 | 290.57 | 290.69 | 290.86 | 290.99 | 290.9 | 290.83 | 290.72 | -1.45 | -0.65 | -0.9165 | 0.19605 | 0.8 | shipped March 3, 2000 batch #3
UC024 | 291.7 | 290.75 | 290.97 | 290.99 | 290.58 | 290.97 | 290.84 | 290.31 | 290.62 | 290.88 | 290.98 | 290.68 | 291.03 | 290.84 | 290.73 | 290.83 | 290.94 | 291 | 290.6 | 290.95 | 290.83 | -1.39 | -0.67 | -0.884 | 0.185 | 0.72 | shipped March 3, 2000 batch #3
UC025 | 291.7 | 290.67 | 290.83 | 290.85 | 290.81 | 290.59 | 290.55 | 290.33 | 290.28 | 290.78 | 290.76 | 290.93 | 290.94 | 290.95 | 290.73 | 290.74 | 290.87 | 290.9 | 290.87 | 290.67 | 290.66 | -1.42 | -0.75 | -0.9645 | 0.1865 | 0.67 | shipped without being painted-1st ever sent
UC026 | 291.7 | 290.98 | 291.06 | 291.12 | 291.04 | 290.97 | 290.85 | 290.27 | 290.61 | 290.52 | 290.69 | 290.83 | 290.94 | 290.99 | 290.92 | 290.91 | 291.04 | 291.01 | 290.92 | 290.8 | 290.64 | -1.43 | -0.58 | -0.8445 | 0.21301 | 0.85 | shipped March 28, 2000 batch # 4
UC027 | 291.7 | 290.66 | 290.95 | 290.96 | 290.58 | 290.85 | 290.63 | 290.16 | 290.31 | 290.35 | 290.63 | 290.7 | 290.87 | 290.95 | 290.62 | 290.65 | 290.96 | 290.94 | 290.66 | 290.72 | 290.52 | -1.54 | -0.74 | -1.0165 | 0.22931 | 0.8 | shipped February 9, 2000 batch #2
UC028 | 291.7 | 290.76 | 290.89 | 290.93 | 290.9 | 290.84 | 290.66 | 290.3 | 290.49 | 290.49 | 290.65 | 290.76 | 290.77 | 290.89 | 290.75 | 290.76 | 290.84 | 290.87 | 290.82 | 290.76 | 290.58 | -1.4 | -0.77 | -0.9645 | 0.16398 | 0.63 | shipped March 3, 2000 batch #3
UC029 | 291.7 | 291.12 | 291.08 | 291.06 | 290.83 | 290.55 | 290.28 | 290.22 | 290.16 | 290.45 | 290.73 | 290.96 | 291.13 | 291.22 | 291.26 | 291.22 | 291.16 | 291.09 | 290.91 | 290.69 | 290.36 | -1.54 | -0.44 | -0.876 | 0.3681 | 1.1 | shipped without being painted-1st ever sent
UC030 | 291.7 | 290.92 | 290.97 | 291.16 | 291.15 | 291.1 | 290.93 | 290.56 | 290.6 | 290.75 | 290.91 | 291 | 291.01 | 291.03 | 290.87 | 290.87 | 291.02 | 291.09 | 291.09 | 290.98 | 290.81 | -1.14 | -0.54 | -0.759 | 0.16428 | 0.6 | shipped May 22, 2000 Batch #6
UC031 | 291.7 | 290.99 | 291.03 | 291.43 | 291.23 | 291.15 | 291.03 | 290.64 | 290.67 | 290.83 | 290.96 | 291.05 | 291.18 | 291.08 | 290.94 | 290.92 | 291.02 | 291.25 | 291.11 | 291.01 | 290.93 | -1.06 | -0.27 | -0.6775 | 0.1853 | 0.79 | shipped May 22, 2000 Batch #6
UC032 | 291.7 | 291.02 | 291.16 | 291.24 | 291.13 | 291.05 | 290.97 | 290.45 | 290.56 | 290.85 | 290.95 | 291.05 | 291.14 | 291.2 | 290.98 | 291 | 291.16 | 291.17 | 291.06 | 290.97 | 290.86 | -1.25 | -0.46 | -0.7015 | 0.2008 | 0.79 | shipped December 15, 1999 batch #1
UC033 | 291.7 | 290.79 | 290.88 | 291.08 | 290.97 | 290.75 | 290.63 | 290.48 | 290.59 | 290.83 | 290.93 | 291.1 | 291.15 | 291.05 | 290.87 | 290.87 | 290.95 | 291.09 | 290.99 | 290.83 | 290.77 | -1.22 | -0.55 | -0.82 | 0.1793 | 0.67 | shipped March 3, 2000 batch #3
UC034 | 291.7 | 290.64 | 290.71 | 290.86 | 290.88 | 290.73 | 290.43 | 290.35 | 290.87 | 290.35 | 290.72 | 290.84 | 290.86 | 290.84 | 290.61 | 290.67 | 290.78 | 290.82 | 290.85 | 290.68 | 290.41 | -1.35 | -0.82 | -1.005 | 0.17931 | 0.53 | shipped May 22, 2000 Batch #6
UC035 | 291.7 | 290.68 | 290.89 | 291.06 | 290.89 | 290.67 | 290.4 | 290.35 | 290.24 | 290.41 | 290.66 | 290.85 | 290.98 | 290.94 | 290.68 | 290.71 | 290.88 | 291 | 290.84 | 290.67 | 290.37 | -1.46 | -0.64 | -0.9915 | 0.24304 | 0.82 | shipped December 15, 1999 batch #1
UC036 | 291.7 | 290.84 | 290.97 | 291.09 | 291.03 | 290.77 | 290.51 | 290.15 | 290.39 | 290.59 | 290.84 | 291.09 | 291.07 | 291.08 | 290.8 | 290.82 | 291.01 | 291.06 | 291.05 | 290.79 | 290.56 | -1.55 | -0.61 | -0.8745 | 0.26591 | 0.94 | Shipped July 12, 2000 batch #8
UC037 | 291.7 | 290.73 | 290.85 | 290.85 | 290.8 | 290.64 | 290.45 | 290.16 | 290.4 | 290.64 | 290.83 | 290.94 | 291.03 | 290.98 | 291.03 | 290.76 | 290.92 | 290.88 | 290.85 | 290.72 | 290.53 | -1.54 | -0.67 | -0.9505 | 0.22538 | 0.87 | Shipped June 14, 2000 batch #7
UC038 | 291.7 | 290.77 | 291 | 291.09 | 291.05 | 290.91 | 290.78 | 290.48 | 290.73 | 290.74 | 290.86 | 291.04 | 291.05 | 291.08 | 290.78 | 290.81 | 291.07 | 291.08 | 291.06 | 290.91 | 290.75 | -1.22 | -0.61 | -0.798 | 0.16842 | 0.61 | shipped March 28, 2000 batch # 4
UC039 | 291.7 | 290.7 | 290.92 | 290.98 | 290.88 | 290.72 | 290.61 | 290.48 | 290.74 | 290.78 | 290.83 | 290.95 | 290.97 | 291.02 | 290.66 | 290.65 | 290.93 | 290.96 | 290.9 | 290.77 | 290.7 | -1.22 | -0.68 | -0.8925 | 0.14818 | 0.54 | shipped March 28, 2000 batch # 4
UC040 | 291.7 | 290.99 | 291.3 | 291.27 | 291.15 | 291.08 | 290.92 | 290.39 | 290.31 | 290.78 | 291 | 291.07 | 291.14 | 291.06 | 290.92 | 290.97 | 291.12 | 291.2 | 291.1 | 291.03 | 290.85 | -1.39 | -0.4 | -0.7175 | 0.25256 | 0.99 | shipped December 20, 2000 batch #17
UC041 | 291.7 | 291.4 | 291.17 | 291.31 | 291.3 | 291.2 | 291.5 | 291.23 | 291.21 | 291.76 | 291.39 | 291.45 | 291.36 | 291.37 | 291.45 | 291.5 | 291.25 | 291.34 | 291.38 | 291.29 | 291.66 | -0.53 | 0.06 | -0.324 | 0.15007 | 0.59 | shipped May 3, 2000 batch #5
UC042 | 291.7 | 291.54 | 291.25 | 291.21 | 291.12 | 290.92 | 291.18 | 291.51 | 290.45 | 291.04 | 290.84 | 291.03 | 291.23 | 291.27 | 291.48 | 291.52 | 291.25 | 291.2 | 291.09 | 290.88 | 291.12 | -1.25 | -0.16 | -0.5435 | 0.2634 | 1.09 | shipped December 15, 1999 batch #1
UC043 | 291.7 | 291.44 | 291.13 | 291.1 | 291.08 | 290.84 | 291.13 | 290.46 | 290.46 | 291.03 | 290.82 | 291.07 | 291.18 | 291.26 | 290.5 | 291.48 | 291.2 | 291.14 | 291.1 | 290.82 | 291.11 | -1.24 | -0.22 | -0.6825 | 0.2883 | 1.02 | shipped March 28, 2000 batch # 4
UC044 | 291.7 | 291.46 | 291.08 | 291.07 | 290.82 | 290.85 | 291.03 | 290.45 | 290.07 | 290.57 | 290.51 | 290.53 | 290.79 | 291.13 | 291.31 | 291.38 | 291.01 | 291.01 | 290.81 | 290.67 | 290.83 | -1.63 | -0.24 | -0.831 | 0.34216 | 1.39 | shipped May 3, 2000 batch #5
UC045 | 291.7 | 291.58 | 291.16 | 291.23 | 291.15 | 290.88 | 291.23 | 290.65 | 290.57 | 291.05 | 291.84 | 291.03 | 291.16 | 291.07 | 291.53 | 291.56 | 291.11 | 291.2 | 291.09 | 290.85 | 291.18 | -1.13 | 0.14 | -0.544 | 0.3056 | 1.27 | shipped February 9, 2000 batch #2
UC046 | 291.7 | 291.56 | 291.22 | 291.3 | 291.24 | 291.03 | 291.31 | 290.79 | 290.95 | 291.37 | 291.12 | 291.27 | 291.28 | 291.34 | 291.59 | 291.59 | 291.27 | 291.3 | 291.26 | 291.06 | 291.31 | -0.91 | -0.11 | -0.442 | 0.20086 | 0.8 | Shipped July 12, 2000 batch #8
UC047 | 291.7 | 291.66 | 291.51 | 291.4 | 291.37 | 291.26 | 291.41 | 290.85 | 290.89 | 291.59 | 291.35 | 291.47 | 291.5 | 291.39 | 291.67 | 291.72 | 291.4 | 291.45 | 291.39 | 291.29 | 291.53 | -0.85 | 0.02 | -0.295 | 0.22039 | 0.87 | shipped May 3, 2000 batch #5
UC048 | 291.7 | 291.82 | 291.5 | 291.36 | 291.46 | 291.17 | 291.3 | 290.8 | 290.79 | 291.16 | 290.93 | 291.04 | 291.31 | 291.39 | 291.84 | 291.75 | 291.31 | 291.21 | 291.03 | 290.95 | 291.06 | -0.91 | 0.14 | -0.441 | 0.30955 | 1.05 | shipped February 9, 2000 batch #2
UC049 | 291.7 | 291.69 | 291.78 | 291.75 | 291.72 | 291.58 | 291.35 | 290.84 | 290.83 | 291.51 | 291.49 | 291.64 | 291.63 | 291.6 | 291.7 | 291.73 | 291.84 | 291.7 | 291.74 | 291.623 | 291.42 | -0.87 | 0.14 | -0.14185 | 0.27582 | 1.01 | shipped December 15, 1999 batch #1
UC050 | 291.7 | 291.13 | 291.68 | 291.73 | 291.66 | 291.58 | 291.41 | 290.94 | 290.91 | 291.2 | 291.46 | 291.58 | 291.63 | 291.42 | 290.96 | 291.13 | 291.61 | 291.66 | 291.64 | 291.45 | 291.31 | -0.79 | 0.03 | -0.2955 | 0.27021 | 0.82 | shipped March 28, 2000 batch # 4
UC051 | 291.7 | 291.74 | 291.91 | 291.84 | 291.72 | 291.57 | 291.4 | 290.85 | 290.81 | 291.31 | 291.48 | 291.68 | 291.87 | 292.04 | 291.7 | 291.76 | 291.86 | 291.86 | 291.59 | 291.5 | 291.32 | -0.89 | 0.34 | -0.1095 | 0.328 | 1.23 | shipped December 20, 2000 batch #17
UC052 | 291.7 | 291.43 | 291.71 | 291.64 | 291.41 | 291.29 | 291.03 | 290.73 | 290.79 | 291.5 | 291.52 | 291.67 | 291.84 | 291.73 | 291.45 | 291.51 | 291.58 | 291.67 | 291.61 | 291.38 | 291.19 | -0.97 | 0.14 | -0.266 | 0.29999 | 1.11 | shipped March 3, 2000 batch #3
UC053 | 291.7 | 291.7 | 291.86 | 291.82 | 291.75 | 291.61 | 291.42 | 290.89 | 291.05 | 291.22 | 291.46 | 291.64 | 291.65 | 291.72 | 291.58 | 291.68 | 291.75 | 291.75 | 291.68 | 291.49 | 291.3 | -0.81 | 0.16 | -0.149 | 0.2598 | 0.97 | shipped March 28, 2000 batch # 4
UC054 | 291.7 | 291.96 | 291.99 | 292.01 | 291.81 | 291.62 | 291.34 | 290.53 | 290.99 | 291.56 | 291.78 | 291.95 | 292.08 | 292.14 | 292.05 | 292.06 | 292.06 | 292.06 | 291.87 | 291.68 | 291.43 | -1.17 | 0.44 | 0.0485 | 0.41434 | 1.61 | Shipped June 14, 2000 batch #7
UC055 | 291.7 | 291.79 | 291.84 | 291.82 | 291.69 | 291.46 | 291.18 | 290.57 | 290.98 | 291.63 | 291.76 | 291.94 | 292 | 292 | 291.85 | 291.85 | 291.97 | 291.85 | 291.74 | 291.56 | 291.37 | -1.13 | 0.3 | -0.0575 | 0.37106 | 1.43 | Shipped July 12, 2000 batch #8
UC056 | 291.7 | 291.61 | 291.81 | 291.87 | 291.74 | 291.62 | 291.45 | 290.85 | 290.86 | 291.33 | 291.43 | 291.65 | 291.8 | 291.79 | 291.48 | 291.58 | 291.63 | 291.69 | 291.6 | 291.42 | 291.25 | -0.85 | 0.17 | -0.177 | 0.28193 | 1.02 | Shipped June 14, 2000 batch #7
UC057 | 291.7 | 291.74 | 291.94 | 292 | ? | 291.89 | 291.68 | 291.1 | 291.05 | 291.37 | 291.57 | 291.79 | 291.84 | 291.83 | 291.76 | 291.74 | 291.86 | 291.97 | 291.85 | 291.66 | 291.46 | -0.65 | 0.3 | -0.010526 | 0.271 | 0.95 | Shipped July 12, 2000 batch #8
UC058 | 291.7 | 291.44 | 291.56 | 291.66 | 291.93 | 291.81 | 291.55 | 291.23 | 291.28 | 291.82 | 292.1 | 292.19 | 292.2 | 292.13 | 291.64 | 291.63 | 291.96 | 292.09 | 291.96 | 291.79 | 291.58 | -0.47 | 0.5 | 0.0775 | 0.2921 | 0.97 | shipped March 28, 2000 batch # 4
UC059 | 291.7 | 291.58 | 291.75 | 291.73 | 291.66 | 291.52 | 291.26 | 290.85 | 291.23 | 291.54 | 291.7 | 291.84 | 291.85 | 291.88 | 291.62 | 291.68 | 291.81 | 291.82 | 291.76 | 291.6 | 291.4 | -0.85 | 0.18 | -0.096 | 0.25562 | 1.03 | shipped May 3, 2000 batch #5
UC060 | 291.7 | 291.62 | 291.99 | 291.89 | 291.8 | 292.08 | 291.83 | 291.04 | 291.08 | 291.53 | 291.75 | 291.5 | 291.78 | 291.7 | 291.47 | 291.6 | 291.82 | 291.95 | 291.71 | 291.88 | 291.55 | -0.66 | 0.38 | -0.0215 | 0.26962 | 1.04 | shipped August 11, 2000 batch #10
UC061 | 291.7 | 291.48 | 291.45 | 291.4 | 291.38 | 291.72 | 291.53 | 291.2 | 291.21 | 291.67 | 291.79 | 291.42 | 291.45 | 291.58 | 291.46 | 291.45 | 291.53 | 291.45 | 291.43 | 291.72 | 291.53 | -0.5 | 0.09 | -0.2075 | 0.1521 | 0.59 | Shipped July 12, 2000 batch #8
UC062 | 291.7 | 291.56 | 291.99 | 292 | 291.96 | 291.83 | 291.62 | 290.95 | 291.24 | 291.71 | 291.91 | 291.99 | 292.12 | 292 | 291.48 | 291.65 | 291.89 | 291.87 | 291.98 | 291.79 | 291.58 | -0.75 | 0.42 | 0.056 | 0.29087 | 1.17 | shipped March 3, 2000 batch #3
UC063 | 291.7 | 291.5 | 291.54 | 291.52 | 291.39 | 291.69 | 291.59 | 291.36 | 291.36 | 291.76 | 291.6 | 291.48 | 291.5 | 291.32 | 291.56 | 291.61 | 291.55 | 291.56 | 291.45 | 291.64 | 291.66 | -0.38 | 0.06 | -0.168 | 0.11628 | 0.44 | shipped May 22, 2000 Batch #6
UC064 | 291.7 | 291.65 | 291.79 | 291.5 | 291.54 | 291.81 | 291.58 | 291.5 | 291.51 | 291.89 | 291.87 | 291.72 | 291.67 | 291.94 | 291.71 | 291.71 | 291.79 | 291.59 | 291.62 | 291.77 | 291.81 | -0.2 | 0.24 | -0.0015 | 0.13504 | 0.44 | shipped May 3, 2000 batch #5
UC065 | 291.7 | 291.71 | 291.73 | 291.84 | 291.78 | 291.81 | 291.66 | 292.23 | 292.41 | 291.94 | 291.77 | 291.71 | 291.64 | 291.77 | 291.66 | 291.73 | 291.72 | 291.68 | 291.75 | 291.82 | 291.9 | -0.06 | 0.71 | 0.113 | 0.19216 | 0.77 | Shipped July 12, 2000 batch #8
UC066 | 291.7 | 291.71 | 291.75 | 291.73 | 291.67 | 291.71 | 291.67 | 291.28 | 291.46 | 291.75 | 291.75 | 291.73 | 291.91 | 291.94 | 291.81 | 291.8 | 291.87 | 291.83 | 291.73 | 291.72 | 291.76 | -0.42 | 0.24 | 0.029 | 0.14563 | 0.66 | shipped July 27, 2000 batch #9
UC067 | 291.7 | 291.61 | 291.72 | 291.38 | 291.38 | 291.52 | 291.55 | 291.33 | 291.3 | 291.56 | 291.5 | 291.31 | 291.4 | 291.81 | 291.57 | 291.61 | 291.53 | 291.35 | 291.3 | 291.41 | 291.54 | -0.4 | 0.11 | -0.216 | 0.14361 | 0.51 | shipped July 27, 2000 batch #9
UC068 | 291.7 | 291.9 | 292.05 | 292.3 | 292.33 | 292.1 | 291.98 | 291.43 | 291.31 | 291.86 | 291.95 | 292.17 | 292.11 | 292.05 | 291.82 | 291.92 | 291.86 | 292.15 | 292.23 | 292.03 | 291.96 | -0.39 | 0.63 | 0.2755 | 0.25264 | 1.02 | shipped September 19, 2000 batch #11
UC069 | 291.7 | 291.91 | 291.45 | 291.63 | 291.72 | 291.84 | 292.05 | 291.7 | 291.7 | 292.11 | 291.92 | 291.84 | 291.72 | 291.61 | 291.82 | 291.83 | 291.5 | 291.56 | 291.68 | 291.79 | 292.09 | -0.25 | 0.41 | 0.0735 | 0.18383 | 0.66 | shipped July 27, 2000 batch #9
UC070 | 291.7 | 291.79 | 292.15 | 292.05 | 291.89 | 291.68 | 291.53 | 291.01 | 291.19 | 291.8 | 291.97 | 292.07 | 292.32 | 292.13 | 291.87 | 291.86 | 292.08 | 292.08 | 291.94 | 291.77 | 291.66 | -0.69 | 0.62 | 0.142 | 0.31854 | 1.31 | shipped August 11, 2000 batch #10
UC071 | 291.7 | 291.29 | 291.6 | 291.67 | 291.59 | 291.51 | 291.31 | 291.31 | 291.11 | 291.35 | 291.49 | 291.59 | 291.65 | 291.3 | 291.13 | 291.21 | 291.45 | 291.68 | 291.64 | 291.52 | 291.36 | -0.59 | -0.02 | -0.262 | 0.18171 | 0.57 | shipped July 27, 2000 batch #9
UC072 | 291.7 | 291.04 | 291.44 | 291.62 | 291.69 | 291.6 | 291.48 | 291.26 | 291.38 | 291.41 | 291.61 | 291.73 | 291.59 | 291.39 | 291.02 | 291.05 | 291.4 | 291.57 | 291.7 | 291.6 | 291.42 | -0.68 | 0.03 | -0.25 | 0.21711 | 0.71 | shipped July 27, 2000 batch #9
UC073 | 291.7 | 291.72 | 292 | 291.97 | 292.08 | 291.97 | 291.82 | 291.43 | 291.35 | 291.73 | 291.93 | 292.22 | 292.08 | 291.78 | 291.58 | 291.75 | 291.9 | 291.97 | 292.08 | 291.97 | 291.8 | -0.35 | 0.52 | 0.1565 | 0.22156 | 0.87 | shipped July 27, 2000 batch #9
UC074 | 291.7 | 291.92 | 291.84 | 291.9 | 291.94 | 291.7 | 291.39 | 290.95 | 291.22 | 291.53 | 291.77 | 291.92 | 291.82 | 291.95 | 291.92 | 291.92 | 291.89 | 291.72 | 291.94 | 291.7 | 291.41 | -0.75 | 0.25 | 0.0175 | 0.27934 | 1 | shipped September 19, 2000 batch #11
UC075 | 291.7 | 292.09 | 291,84 | 291.73 | 291.7 | 291.48 | 291.23 | 290.87 | 291.11 | 291.42 | 291.56 | 291.79 | 291.75 | 291.84 | 292.08 | 292.11 | 291.93 | 291.71 | 291.76 | 291.53 | 291.35 | -0.83 | 0.41 | -0.066316 | 0.33536 | 1.24 | shipped August 11, 2000 batch #10
UC076 | 291.7 | 291.5 | 291.96 | 292.01 | 291.99 | 291.89 | 291.57 | 291.37 | 291.43 | 291.81 | 292.06 | 292.04 | 292.05 | 291.79 | 291.54 | 291.57 | 291.88 | 291.99 | 292.03 | 291.99 | 291.64 | -0.33 | 0.36 | 0.1055 | 0.23435 | 0.69 | shipped August 11, 2000 batch #10
UC077 | 291.7 | 291.18 | 291.31 | 291.44 | 291.47 | 291.23 | 291.05 | 290.83 | 290.7 | 290.92 | 291.06 | 291.29 | 291.19 | 291.12 | 291.01 | 291.11 | 291.37 | 291.3 | 291.32 | 291.13 | 291.02 | -1 | -0.23 | -0.5475 | 0.19942 | 0.77 | Shipped July 12, 2000 batch #8
UC078 | 291.7 | 291 | 291.35 | 291.37 | 291.36 | 291.2 | 291.1 | 290.74 | 290.96 | 291.31 | 291.45 | 291.55 | 291.58 | 291.39 | 291.02 | 290.99 | 291.34 | 291.47 | 291.41 | 291.32 | 291.2 | -0.96 | -0.12 | -0.4445 | 0.22239 | 0.84 | shipped July 27, 2000 batch #9
UC079 | 291.7 | 291.43 | 292.09 | 292.28 | 292.37 | 292.42 | 292.06 | 291.15 | 291.55 | 292.08 | 292.29 | 292.35 | 292.3 | 292.13 | 291.46 | 291.48 | 292.07 | 292.28 | 292.42 | 292.33 | 292.11 | -0.55 | 0.72 | 0.3325 | 0.39033 | 1.27 | shipped July 27, 2000 batch #9
UC080 | 291.7 | 291.47 | 291.84 | 292.19 | 292.27 | 292.04 | 291.74 | 291.19 | 291.61 | 291.97 | 292.3 | 292.36 | 292.29 | 291.76 | 291.45 | 291.57 | 291.89 | 292.25 | 292.38 | 292.12 | 291.91 | -0.51 | 0.68 | 0.23 | 0.34687 | 1.19 | BATCH #23, shipped May 24, 2001 / unfinished
UC081 | 291.7 | 291.34 | 291.65 | 291.54 | 291.74 | 291.86 | 291.61 | 291.63 | 291.77 | 292.36 | 292.15 | 291.11 | 291.93 | 291.91 | 291.47 | 291.62 | 291.79 | 291.79 | 291.82 | 292.02 | 292.05 | -0.59 | 0.66 | 0.058 | 0.2841 | 1.25 | shipped December 20, 2000 batch #17
UC082 | 291.7 | 291.06 | 291.76 | 291.83 | 291.76 | 291.54 | 291.56 | 291.55 | 291.52 | 291.5 | 291.62 | 291.66 | 291.67 | 291.63 | 291.01 | 291.11 | 291.68 | 291.7 | 291.74 | 291.64 | 291.51 | -0.69 | 0.13 | -0.1475 | 0.23151 | 0.82 | BATCH #24, shipped May 29, 2001 / unfinished
UC083 | 291.7 | 291.36 | 291.58 | 291.57 | 291.6 | 291.4 | 291.37 | 291.06 | 291.31 | 291.49 | 291.37 | 291.53 | 291.47 | 291.59 | 291.33 | 291.41 | 291.32 | 291.41 | 291.58 | 291.36 | 291.51 | -0.64 | -0.1 | -0.269 | 0.13234 | 0.54 | BATCH #23, shipped May 24, 2001 / unfinished
UC084 | 291.7 | 291.08 | 291.35 | 291.66 | 291.9 | 291.79 | 291.54 | 291.86 | 291.83 | 291.58 | 291.65 | 291.79 | 291.73 | 291.46 | 291.13 | 291.13 | 291.14 | 291.61 | 291.86 | 291.7 | 291.64 | -0.62 | 0.2 | -0.1285 | 0.26937 | 0.82 | shipped August 11, 2000 batch #10
UC085 | 291.7 | 290.94 | 291.35 | 291.56 | 291.53 | 291.4 | 291.24 | 291.32 | 291.26 | 291.19 | 291.32 | 291.46 | 291.47 | 291.37 | 291.03 | 290.98 | 291.27 | 291.5 | 291.47 | 291.39 | 291.19 | -0.76 | -0.14 | -0.388 | 0.17808 | 0.62 | shipped September 26, 2000 batch #12
UC086 | 291.7 | 291 | 291.16 | 291.18 | 291.23 | 291.08 | 290.99 | 291.16 | 291.22 | 291 | 291.15 | 291.37 | 291.36 | 291.49 | 291.24 | 291.17 | 291.17 | 291.24 | 291.29 | 291.12 | 291 | -0.71 | -0.21 | -0.519 | 0.13314 | 0.5 | shipped May 22, 2000 Batch #6
UC087 | 291.7 | 291.11 | 291.18 | 291.32 | 291.42 | 291.25 | 291.09 | 291.39 | 291.19 | 291.09 | 291.27 | 291.39 | 291.24 | 291.21 | 291.1 | 291.14 | 291.19 | 291.29 | 291.43 | 291.31 | 291.09 | -0.61 | -0.27 | -0.465 | 0.11501 | 0.34 | shipped August 11, 2000 batch #10
UC088 | 291.7 | 291.06 | 291.02 | 291.23 | 291.29 | 291.1 | 291.04 | 291.27 | 291.31 | 291 | 291.03 | 291.23 | 291.12 | 291.05 | 290.97 | 291.03 | 291.07 | 291.19 | 291.27 | 291.08 | 291.03 | -0.73 | -0.39 | -0.5805 | 0.10995 | 0.34 | shipped August 11, 2000 batch #10
UC089 | 291.7 | 291.11 | 291.28 | 291.52 | 291.55 | 291.23 | 291.11 | 291.24 | 291.55 | 291.26 | 291.46 | 291.6 | 291.56 | 291.32 | 291.13 | 291.21 | 291.15 | 291.44 | 291.5 | 291.35 | 291.15 | -0.59 | -0.1 | -0.364 | 0.17135 | 0.49 | shipped September 19, 2000 batch #11
UC090 | 291.7 | 291.19 | 291.56 | 291.67 | 291.82 | 291.68 | 291.6 | 291.52 | 291.44 | 291.48 | 291.47 | 291.54 | 291.52 | 291.28 | 291.2 | 290.93 | 291.2 | 291.44 | 291.55 | 291.45 | 291.36 | -0.77 | 0.12 | -0.255 | 0.20541 | 0.89 | shipped August 11, 2000 batch #10
UC091 | 291.7 | 291.32 | 291.66 | 292.07 | 292.22 | 291.96 | 291.76 | 291.8 | 291.95 | 291.74 | 292.12 | 292.2 | 292.07 | 291.69 | 291.33 | 291.36 | 291.47 | 291.92 | 292.11 | 292 | 291.76 | -0.38 | 0.52 | 0.1255 | 0.28677 | 0.9 | BATCH #23, shipped May 24, 2001 / unfinished
UC092 | 291.7 | 291.67 | 291.9 | 291.21 | 291.43 | 292.4 | 292.12 | 292.08 | 291.94 | 292.14 | 292.16 | 292.21 | 292.12 | 291.93 | 291.64 | 291.68 | 291.79 | 292.18 | 292.25 | 292.21 | 291.98 | -0.49 | 0.7 | 0.252 | 0.30178 | 1.19 | Shipped July 12, 2000 batch #8
UC093 | 291.7 | 291.43 | 291.7 | 292.04 | 292.17 | 292.06 | 291.96 | 291.54 | 291.64 | 292.02 | 292.02 | 292.23 | 292.12 | 291.79 | 291.39 | 291.5 | 291.77 | 292.13 | 292.23 | 292.1 | 292.03 | -0.31 | 0.53 | 0.1935 | 0.27462 | 0.84 | batch #21, shipped March 14, 2001
UC094 | 291.7 | 290.75 | 291.15 | 291.34 | 291.5 | 291.24 | 290.95 | 290.06 | 289.95 | 290.84 | 291.06 | 291.43 | 291.31 | 291.1 | 290.7 | 290.82 | 291.13 | 291.35 | 291.5 | 291.18 | 290.83 | -1.75 | -0.2 | -0.6905 | 0.42229 | 1.55 | BATCH #23, shipped May 24, 2001 / unfinished
UC095 | 291.7 | 290.68 | 291.14 | 291.37 | 291.47 | 291.26 | 290.94 | 290.24 | 290.17 | 290.8 | 291.18 | 291.36 | 291.33 | 291.07 | 290.65 | 291.73 | 291.13 | 291.36 | 291.42 | 291.25 | 290.89 | -1.53 | 0.03 | -0.628 | 0.40279 | 1.56 | shipped November 28, 2000 batch #16
UC096 | 291.7 | 290.6 | 290.75 | 291.2 | 291.63 | 291.52 | 291.36 | 290.92 | 291.04 | 291.38 | 291.42 | 291.49 | 291.2 | 290.62 | 290.4 | 290.52 | 290.65 | 291.23 | 291.58 | 291.53 | 291.38 | -1.3 | -0.07 | -0.579 | 0.40049 | 1.23 | shipped December 20, 2000 batch #17
UC097 | 291.7 | 290.26 | 290.75 | 291.04 | 291.41 | 291.33 | 291.08 | 290.73 | 290.28 | 290.9 | 291.18 | 291.05 | 290.96 | 290.45 | 290.12 | 290.24 | 290.68 | 291.09 | 291.22 | 291.25 | 291.05 | -1.58 | -0.29 | -0.8465 | 0.39617 | 1.29 | shipped November 7, 2000 batch #15
UC098 | 291.7 | 290.59 | 290.63 | 290.85 | 291 | 290.81 | 290.69 | 290.6 | 290.44 | 290.7 | 290.65 | 290.8 | 290.71 | 290.48 | 290.4 | 290.55 | 290.55 | 290.76 | 290.91 | 290.76 | 290.83 | -1.3 | -0.7 | -1.0145 | 0.15883 | 0.6 | BATCH #23, shipped May 24, 2001 / unfinished
UC099 | 291.7 | 290.6 | 290.73 | 291.38 | 291.86 | 291.52 | 291.37 | 291.8 | 291.47 | 291.3 | 291.4 | 291.46 | 291.22 | 290.48 | 290.6 | 290.65 | 290.61 | 291.34 | 291.68 | 291.58 | 291.5 | -1.22 | 0.16 | -0.4725 | 0.44304 | 1.38 | shipped November 28, 2000 batch #16
UC100 | 291.7 | 291.18 | 290.94 | 291.39 | 291.55 | 291.33 | 291.18 | 291.53 | 291.5 | 291.22 | 291.42 | 291.54 | 291.59 | 291.09 | 291.27 | 291.21 | 291.01 | 291.5 | 291.55 | 291.4 | 291.26 | -0.76 | -0.11 | -0.367 | 0.19396 | 0.65 | shipped October 5, 2000 batch #13
UC101 | tack only | [24 empty] | 0 | BATCH #24, shipped May 29, 2001 / unfinished
UC102 | 291.7 | 291.27 | 291.53 | 291.89 | 292.17 | 291.89 | 291.72 | 291.97 | 291.84 | 291.47 | 291.74 | 291.9 | 291.67 | 291.41 | 291.21 | 291.27 | 291.4 | 291.78 | 292.04 | 291.76 | 291.65 | -0.49 | 0.47 | -0.021 | 0.27276 | 0.96 | shipped November 28, 2000 batch #16
UC103 | 291.7 | 291.16 | 291.02 | 291.23 | 291.25 | 291.1 | 290.9 | 291.5 | 291.27 | 290.97 | 291.05 | 291.16 | 291.1 | 290.98 | 291.25 | 291.24 | 291.04 | 291.18 | 291.24 | 291.16 | 291.12 | -0.8 | -0.2 | -0.554 | 0.13555 | 0.6 | shipped September 26, 2000 batch #12
UC104 | 291.7 | 290.85 | 290.65 | 291.06 | 291.13 | 291.04 | 290.98 | 291.3 | 291.11 | 290.87 | 290.91 | 291.02 | 290.81 | 290.67 | 290.82 | 290.83 | 290.72 | 290.92 | 291.12 | 291.03 | 291.02 | -1.05 | -0.4 | -0.757 | 0.16809 | 0.65 | shipped November 28, 2000 batch #16
UC105 | tack only | [24 empty] | 0 | BATCH #23, shipped May 24, 2001 / unfinished
UC106 | 291.7 | 291.27 | 290.97 | 291.27 | 291.31 | 291.06 | 291.91 | 291.36 | 291.15 | 290.9 | 291.03 | 291.15 | 291.16 | 291.06 | 291.14 | 291.13 | 291.83 | 291.33 | 291.28 | 291.08 | 291.01 | -0.8 | 0.21 | -0.48 | 0.25551 | 1.01 | shipped November 28, 2000 batch #16
UC107 | tack only | [24 empty] | 0 | BATCH #24, shipped May 29, 2001 / unfinished
UC108 | tack only | [24 empty] | 0 | BATCH #23, shipped May 24, 2001 / unfinished
UC109 | 291.7 | 291.79 | 291.87 | 291.87 | 291.81 | 291.8 | 291.72 | 291.47 | 291.29 | 291.58 | 291.68 | 291.76 | 291.98 | 291.82 | 291.71 | 291.77 | 291.76 | 291.82 | 291.75 | 291.66 | 291.69 | -0.41 | 0.28 | 0.03 | 0.1504 | 0.69 | shipped September 26, 2000 batch #12
UC110 | 291.7 | 291.27 | 291.68 | 292.01 | 292.17 | 292.19 | 291.87 | 291.84 | 291.74 | 291.88 | 292.06 | 292.14 | 292.05 | 291.03 | 291.43 | 291.38 | 291.73 | 291.94 | 292.14 | 292.2 | 291.94 | -0.67 | 0.5 | 0.1345 | 0.33188 | 1.17 | BATCH #23, shipped May 24, 2001 / unfinished
UC111 | 291.7 | 291.29 | 291.81 | 292.02 | 292.29 | 292.22 | 292.09 | 292.03 | 291.87 | 292.04 | 291.99 | 292.05 | 291.85 | 291.59 | 291.02 | 291.18 | 291.66 | 291.91 | 292.17 | 292.11 | 292.14 | -0.68 | 0.59 | 0.1665 | 0.35202 | 1.27 | BATCH #23, shipped May 24, 2001 / unfinished
UC112 | 291.7 | 291.46 | 291.65 | 291.88 | 291.9 | 291.62 | 291.56 | 291.58 | 291.57 | 291.6 | 291.63 | 291.78 | 291.7 | 291.63 | 291.44 | 291.64 | 291.76 | 291.67 | 291.78 | 291.64 | 291.68 | -0.26 | 0.2 | -0.0415 | 0.11869 | 0.46 | shipped November 28, 2000 batch #16
UC113 | tack only | [24 empty] | 0 | BATCH #24, shipped May 29, 2001 / unfinished
UC114 | 291.7 | 291.61 | 291.88 | 292.09 | 292.2 | 292.15 | 292.01 | 291.5 | 291.37 | 292.02 | 292.12 | 292.15 | 292.02 | 291.82 | 291.55 | 291.65 | 292 | 292.21 | 292.27 | 292.19 | 292.1 | -0.33 | 0.57 | 0.2455 | 0.26979 | 0.9 | shipped September 26, 2000 batch #12
UC115 | 291.7 | 291.75 | 292.25 | 292.5 | 292.52 | 292.56 | 292.49 | 291.87 | 291.69 | 292.36 | 292.49 | 292.44 | 292.37 | 292.15 | 291.74 | 291.89 | 291.3 | 292.53 | 292.53 | 292.58 | 292.56 | -0.4 | 0.88 | 0.5285 | 0.38197 | 1.28 | shipped November 28, 2000 batch #16
UC116 | 291.7 | 291.7 | 292.69 | 293.07 | 293.14 | 293.24 | 293.06 | 292.35 | 292.23 | 292.94 | 293.22 | 293.09 | 292.97 | 292.61 | 291.9 | 292 | 292.68 | 293.04 | 293.16 | 293.3 | 293.03 | N/A | 1.6 | 1.071 | 0.48569 | 1.6 | shipped December 20, 2000 batch #17 | bad spacers/bad masters
UC117 | 291.7 | 291.39 | 291.66 | 291.79 | 291.86 | 291.89 | 291.72 | 291.47 | 291.24 | 291.66 | 291.75 | 291.8 | 291.74 | 291.79 | 291.47 | 291.5 | 291.72 | 291.77 | 291.84 | 291.82 | 291.57 | -0.46 | 0.19 | -0.0275 | 0.17624 | 0.65 | shipped November 7, 2000 batch #15
UC118 | 291.7 | 291.51 | 291.63 | 291.66 | 291.67 | 291.48 | 291.52 | 291.01 | 290.98 | 291.64 | 291.53 | 291.71 | 291.59 | 291.67 | 291.57 | 291.61 | 291.67 | 291.68 | 291.77 | 291.52 | 291.55 | -0.72 | 0.07 | -0.1515 | 0.2041 | 0.79 | shipped September 19, 2000 batch #11
UC119 | 291.7 | 291.78 | 291.9 | 291.86 | 291.86 | 291.781 | 291.65 | 291.27 | 291.02 | 291.5 | 291.59 | 291.67 | 291.74 | 291.87 | 291.72 | 291.76 | 291.91 | 291.83 | 291.83 | 291.65 | 291.53 | -0.68 | 0.21 | -0.01395 | 0.22324 | 0.89 | shipped September 19, 2000 batch #11
UC120 | 291.7 | 292.22 | 292.24 | 292.1 | 291.92 | 291.78 | 291.58 | 291.31 | 290.89 | 291.39 | 291.53 | 291.75 | 291.91 | 291.23 | 292.11 | 292.28 | 292.12 | 292.02 | 291.85 | 291.67 | 291.4 | -0.81 | 0.58 | 0.065 | 0.38417 | 1.39 | shipped September 19, 2000 batch #11
UC121 | 291.7 | 291.54 | 291.76 | 291.8 | 291.71 | 291.65 | 291.4 | 291.5 | 291.2 | 291.4 | 291.56 | 291.61 | 291.63 | 291.69 | 291.55 | 291.61 | 291.73 | 291.7 | 291.66 | 291.55 | 291.5 | -0.5 | 0.1 | -0.1125 | 0.14271 | 0.6 | shipped September 19, 2000 batch #11
UC122 | 291.7 | 291.52 | 291.47 | 291.73 | 291.61 | 291.65 | 291.56 | 291.49 | 291.56 | 291.57 | 291.59 | 291.7 | 291.62 | 291.7 | 291.69 | 291.66 | 291.68 | 291.54 | 291.88 | 291.63 | 291.68 | -0.23 | 0.18 | -0.0735 | 0.095382 | 0.41 | shipped September 19, 2000 batch #11
UC123 | 291.7 | 291.53 | 291.75 | 291.77 | 291.79 | 291.72 | 291.58 | 291.38 | 291.3 | 291.43 | 291.58 | 291.61 | 291.44 | 291.63 | 291.51 | 291.54 | 291.68 | 291.64 | 291.74 | 291.67 | 291.39 | -0.4 | 0.09 | -0.116 | 0.14229 | 0.49 | shipped October 5, 2000 batch #13
UC124 | 291.7 | 291.6 | 291.74 | 291.82 | 291.7 | 291.38 | 291.3 | 291.24 | 290.74 | 290.9 | 291.55 | 291.75 | 291.75 | 291.77 | 291.54 | 291.58 | 291.78 | 291.81 | 291.71 | 291.45 | 291.57 | -0.96 | 0.12 | -0.166 | 0.29743 | 1.08 | shipped October 5, 2000 batch #13
UC125 | 291.7 | 291.63 | 291.57 | 291.66 | 291.74 | 291.72 | 291.68 | 291.28 | 291.12 | 291.47 | 291.57 | 291.65 | 291.66 | 291.69 | 291.42 | 291.58 | 291.78 | 291.74 | 291.77 | 291.71 | 291.53 | -0.58 | 0.08 | -0.1015 | 0.16878 | 0.66 | shipped September 26, 2000 batch #12
UC126 | 291.7 | 291.68 | 291.78 | 291.83 | 291.71 | 291.61 | 291.41 | 291.06 | 291.23 | 291.64 | 291.72 | 291.8 | 291.75 | 291.9 | 291.6 | 291.59 | 291.76 | 291.72 | 291.77 | 291.63 | 291.5 | -0.64 | 0.2 | -0.0655 | 0.20431 | 0.84 | shipped October 5, 2000 batch #13
UC127 | 291.7 | 291.5 | 291.57 | 291.65 | 291.63 | 291.51 | 291.38 | 291.19 | 291.27 | 291.66 | 291.69 | 291.72 | 291.67 | 291.62 | 291.44 | 291.51 | 291.52 | 291.63 | 291.61 | 291.58 | 291.46 | -0.51 | 0.02 | -0.1595 | 0.13945 | 0.53 | shipped October 5, 2000 batch #13 | Master and spacers OK
UC128 | 291.7 | 291.61 | 291.59 | 291.7 | 291.69 | 291.52 | 291.43 | 291.33 | 291.12 | 291.35 | 291.43 | 291.55 | 291.85 | 291.77 | 291.43 | 291.67 | 291.67 | 291.79 | 291.73 | 291.5 | 291.49 | -0.58 | 0.15 | -0.139 | 0.18145 | 0.73 | shipped October 5, 2000 batch #13
UC129 | 291.7 | 291.6 | 291.71 | 291.92 | 291.88 | 291.73 | 291.75 | 291.5 | 291.44 | 291.74 | 291.69 | 291.84 | 291.93 | 291.7 | 291.63 | 291.66 | 291.68 | 291.98 | 291.9 | 291.72 | 291.75 | -0.26 | 0.28 | 0.0375 | 0.14071 | 0.54 | shipped October 5, 2000 batch #13
UC130 | 291.7 | 291.52 | 291.62 | 291.64 | 291.52 | 291.46 | 291.41 | 291.56 | 291.31 | 291.46 | 291.51 | 291.56 | 291.58 | 291.65 | 291.5 | 291.56 | 291.57 | 291.59 | 291.52 | 291.45 | 291.36 | -0.39 | -0.05 | -0.1825 | 0.089259 | 0.34 | shipped September 26, 2000 batch #12
UC131 | 291.7 | 291.58 | 291.69 | 291.62 | 291.58 | 291.48 | 291.31 | 291.38 | 291.35 | 291.5 | 291.52 | 291.62 | 291.66 | 291.75 | 291.58 | 291.66 | 291.55 | 291.52 | 291.55 | 291.4 | 291.41 | -0.39 | 0.05 | -0.1645 | 0.11918 | 0.44 | shipped September 26, 2000 batch #12
UC132 | 291.7 | 291.69 | 291.79 | 291.81 | 291.64 | 291.6 | 291.19 | 291.34 | 291.38 | 291.71 | 291.78 | 291.74 | 291.81 | 291.81 | 291.68 | 291.7 | 291.67 | 291.77 | 291.65 | 291.6 | 291.61 | -0.51 | 0.11 | -0.0515 | 0.16734 | 0.62 | shipped October 25, 2000 batch #14
UC133 | 291.7 | 291.59 | 291.63 | 291.63 | 291.53 | 291.49 | 291.44 | 291.28 | 291.24 | 291.46 | 291.54 | 291.53 | 291.56 | 291.53 | 291.47 | 291.59 | 291.55 | 291.59 | 291.55 | 291.56 | 291.51 | -0.46 | -0.07 | -0.1865 | 0.10085 | 0.39 | shipped October 25, 2000 batch #14
UC134 | 291.7 | 291.57 | 291.3 | 291.57 | 291.48 | 291.46 | 291.41 | 291.17 | 291.12 | 291.28 | 291.36 | 291.39 | 291.55 | 291.97 | 291.53 | 291.58 | 291.53 | 291.5 | 291.42 | 291.27 | 291.37 | -0.58 | 0.27 | -0.2585 | 0.18248 | 0.85 | shipped November 7, 2000 batch #15
UC135 | 291.7 | 291.77 | 291.88 | 292.03 | 291.86 | 291.82 | 291.54 | 291.38 | 291.22 | 291.34 | 291.51 | 291.56 | 291.69 | 291.74 | 291.4 | 291.75 | 291.85 | 291.89 | 291.69 | 291.71 | 291.5 | -0.48 | 0.33 | -0.0435 | 0.21583 | 0.81 | shipped October 25, 2000 batch #14
UC136 | 291.7 | 291.86 | 291.84 | 291.8 | 291.68 | 291.48 | 291.34 | 291.35 | 291.2 | 291.58 | 291.64 | 291.74 | 291.81 | 291.92 | 291.73 | 291.05 | 291.84 | 291.78 | 291.71 | 291.59 | 291.5 | -0.65 | 0.22 | -0.078 | 0.23688 | 0.87 | shipped October 25, 2000 batch #14
UC137 | 291.7 | 291.55 | 291.73 | 291.73 | 291.63 | 291.58 | 291.37 | 291.14 | 291.16 | 291.59 | 291.67 | 291.73 | 291.78 | 291.83 | 291.55 | 291.53 | 291.67 | 291.66 | 291.54 | 291.43 | 291.37 | -0.56 | 0.13 | -0.138 | 0.18853 | 0.69 | shipped September 26, 2000 batch #12
UC138 | 291.7 | 291.52 | 291.6 | 291.62 | 291.6 | 291.49 | 291.41 | 291.32 | 291.18 | 291.13 | 291.2 | 291.3 | 291.5 | 291.62 | 291.38 | 291.96 | 291.58 | 291.56 | 291.56 | 291.41 | 291.45 | -0.57 | 0.26 | -0.2305 | 0.19066 | 0.83 | shipped October 25, 2000 batch #14
UC139 | 291.7 | 291.68 | 291.76 | 291.64 | 291.5 | 291.39 | 291.23 | 291.2 | 291.05 | 291.41 | 291.39 | 291.57 | 291.69 | 291.95 | 291.77 | 291.76 | 291.76 | 291.69 | 291.56 | 291.44 | 291.24 | -0.65 | 0.25 | -0.166 | 0.23583 | 0.9 | shipped November 7, 2000 batch #15
UC140 | 291.7 | 291.52 | 291.6 | 291.72 | 291.63 | 291.57 | 291.56 | 291.42 | 291.05 | 291.28 | 291.34 | 291.41 | 291.49 | 291.62 | 291.5 | 291.6 | 291.56 | 291.54 | 291.6 | 291.42 | 291.28 | -0.65 | 0.02 | -0.2145 | 0.15652 | 0.67 | shipped Oct 5, 2000 batch #13
UC141 | 291.7 | 291.83 | 291.92 | 291.88 | 291.89 | 291.87 | 291.69 | 291.64 | 291.49 | 291.86 | 291.93 | 291.97 | 291.7 | 291.97 | 291.7 | 291.82 | 291.84 | 291.9 | 291.86 | 291.87 | 291.66 | -0.21 | 0.27 | 0.1145 | 0.12622 | 0.48 | shipped November 7, 2000 batch #15
UC142 | 291.7 | 291.7 | 292.1 | 292.24 | 292.18 | 292.13 | 291.98 | 291.72 | 291.43 | 292.04 | 292.08 | 292.04 | 292 | 291.96 | 291.59 | 291.69 | 291.91 | 292.06 | 292.03 | 292.1 | 291.02 | -0.68 | 0.54 | 0.2 | 0.29638 | 1.22 | shipped October 25, 2000 batch #14
UC143 | 291.7 | 291.54 | 291.94 | 292 | 291.97 | 292.07 | 291.97 | 291.44 | 291.63 | 292.15 | 292.12 | 291.98 | 291.93 | 291.81 | 291.47 | 291.57 | 291.83 | 291.89 | 291.92 | 292.04 | 292.08 | -0.26 | 0.45 | 0.1675 | 0.22014 | 0.71 | shipped October 25, 2000 batch #14
UC144 | 291.7 | 291.64 | 292.05 | 292.13 | 292.21 | 292.04 | 291.81 | 291.61 | 291.61 | 292.11 | 292.1 | 292.18 | 291.98 | 291.81 | 291.6 | 291.63 | 291.93 | 292.04 | 292.07 | 292.04 | 291.93 | -0.1 | 0.51 | 0.226 | 0.20917 | 0.61 | shipped October 25, 2000 batch #14
UC145 | 291.7 | 291.69 | 291.95 | 291.99 | 291.95 | 291.81 | 291.67 | 291.33 | 291.46 | 291.79 | 291.87 | 292.02 | 291.95 | 291.92 | 291.77 | 291.77 | 291.85 | 291.84 | 291.8 | 291.75 | 291.7 | -0.37 | 0.32 | 0.094 | 0.17086 | 0.69 | shipped November 7, 2000 batch #15 | In Section 9 the 13th Spacer is incorrect.
UC146 | 291.7 | 291.63 | 291.93 | 292 | 291.92 | 291.81 | 291.7 | 291.41 | 291.2 | 291.73 | 291.82 | 291.93 | 291.87 | 291.93 | 291.72 | 291.68 | 291.91 | 291.98 | 291.8 | 291.72 | 291.62 | -0.5 | 0.3 | 0.0655 | 0.19824 | 0.8 | shipped November 7, 2000 batch #15
UC147 | 291.7 | 291.56 | 291.79 | 291.7 | 291.62 | 291.53 | 291.46 | 291.27 | 291.47 | 291.63 | 291.65 | 291.73 | 291.69 | 291.77 | 291.48 | 291.55 | 291.73 | 291.64 | 291.63 | 291.5 | 291.42 | -0.43 | 0.09 | -0.109 | 0.13234 | 0.52 | shipped November 7, 2000 batch #15
UC148 | 291.7 | 291.68 | 291.84 | 291.83 | 291.65 | 291.48 | 291.29 | 291.25 | 291.35 | 291.63 | 291.7 | 291.69 | 291.8 | 291.74 | 291.5 | 291.64 | 291.82 | 291.7 | 291.62 | 291.5 | 291.35 | -0.45 | 0.14 | -0.097 | 0.18299 | 0.59 | shipped December 20, 2000 batch #17
UC149 | 291.7 | 291.56 | 291.69 | 291.81 | 291.73 | 291.61 | 291.42 | 291.15 | 291.01 | 291.41 | 291.59 | 291.66 | 291.7 | 291.68 | 291.5 | 291.5 | 291.78 | 291.74 | 291.68 | 291.61 | 291.5 | -0.69 | 0.11 | -0.1335 | 0.2021 | 0.8 | shipped December 20, 2000 batch #17
UC150 | 291.7 | 291.69 | 292.02 | 291.98 | 291.96 | 292.02 | 291.64 | 291.37 | 291.34 | 291.68 | 291.83 | 291.8 | 291.77 | 291.84 | 291.52 | 291.69 | 292.09 | 291.97 | 291.03 | 291.99 | 291.86 | -0.67 | 0.39 | 0.0545 | 0.27159 | 1.06 | shipped December 20, 2000 batch #17
UC151 | 291.7 | 291.81 | 291.15 | 292.33 | 292.41 | 292.38 | 292.27 | 291.89 | 291.49 | 292.21 | 292.26 | 292.24 | 292.17 | 292.16 | 291.55 | 291.71 | 292.15 | 292.32 | 292.36 | 292.38 | 292.28 | -0.55 | 0.71 | 0.376 | 0.35521 | 1.26 | shipped January 11, 2001 batch #18
UC152 | 291.7 | 291.79 | 292.1 | 292.3 | 292.47 | 292.52 | 292.38 | 291.97 | 291.91 | 292.54 | 292.55 | 292.55 | 292.41 | 292.18 | 291.58 | 291.69 | 292.05 | 292.26 | 292.51 | 292.5 |  | -0.12 | 0.85 | 0.52421 | 0.31477 | 0.97 | shipped January 11, 2001 batch #18
UC153 | 291.7 | 291.73 | 292.06 | 292.22 | 292.26 | 292.33 | 292.06 | 291.25 | 291.68 | 292.37 | 292.36 | 292.31 | 292.18 | 292.11 | 291.62 | 291.73 | 292.13 | 292.18 | 292.27 | 292.28 | 292.08 | -0.45 | 0.67 | 0.3605 | 0.30158 | 1.12 | shipped January 11, 2001 batch #18
UC154 | 291.7 | 291.76 | 292.09 | 292.28 | 292.31 | 292.29 | 292.1 | 291.83 | 291.74 | 292.35 | 292.45 | 292.43 | 292.27 | 292.12 | 291.66 | 291.72 | 292.08 | 292.25 | 292.29 | 292.33 | 292.13 | -0.04 | 0.75 | 0.424 | 0.25061 | 0.79 | shipped January 11, 2001 batch #18
UC155 | 291.7 | 291.76 | 292.15 | 292.31 | 292.78 | 292.32 | 292.3 | 291.98 | 291.9 | 292.14 | 292.22 | 292.3 | 292.21 | 292.13 | 291.73 | 291.78 | 292.13 | 292.25 | 292.45 | 292.3 | 292.28 | N/A | 1.08 | 0.471 | 0.2506 | 1.05 | shipped January 11, 2001 batch #18
UC156 | 291.7 | 291.79 | 292.16 | 292.38 | 292.41 | 292.35 | 292.14 | 291.72 | 291.7 | 292.18 | 292.28 | 292.36 | 292.26 | 292.2 | 291.78 | 291.73 | 292.14 | 292.32 | 292.46 | 292.37 | 292.27 | N/A | 0.76 | 0.45 | 0.25705 | 0.76 | shipped January 11, 2001 batch #18
UC157 | 291.7 | 291.89 | 292.64 | 292.78 | 292.98 | 293.07 | 292.61 | 291.77 | 291.94 | 292.71 | 293.06 | 292.95 | 292.66 | 292.58 | 291.89 | 291.89 | 292.63 | 292.77 | 292.98 | 293.11 | 292.74 | N/A | 1.41 | 0.8825 | 0.44922 | 1.34 | shipped January 11, 2001 batch #18
UC158 | 291.7 | 291.83 | 292.24 | 292.42 | 292.51 | 292.44 | 292.41 | 291.89 | 291.81 | 291.97 | 292.6 | 292.52 | 292.47 | 292.32 | 291.74 | 291.72 | 292.22 | 292.33 | 292.5 | 292.53 | 292.53 | N/A | 0.9 | 0.55 | 0.30371 | 0.88 | shipped January 11, 2001 batch #18
UC159 | 291.7 | 291.7 | 292 | 292.11 | 292.16 | 292.1 | 291.99 | 291.97 | 291.7 | 292.1 | 292.12 | 292.16 | 292.05 | 291.96 | 291.75 | 291.64 | 291.94 | 292.02 | 292.1 | 292.06 | 292 | -0.06 | 0.46 | 0.2815 | 0.15988 | 0.52 | shipped January 25, 2001 batch #19
UC160 | 291.7 | 291.6 | 292.05 | 292.25 | 292.37 | 292.35 | 292.15 | 291.42 | 291.17 | 291.99 | 292.25 | 292.32 | 292.2 | 292.09 | 291.67 | 291.65 | 292.13 | 292.26 | 292.39 | 292.37 | 292.17 | -0.53 | 0.69 | 0.3425 | 0.35116 | 1.22 | shipped January 25, 2001 batch #19
UC161 | 291.7 | 291.85 | 292.24 | 292.45 | 292.46 | 292.38 | 292.25 | 291.76 | 291.71 | 292.22 | 292.31 | 292.44 | 292.41 | 292.17 | 291.77 | 291.8 | 292.33 | 292.51 | 292.45 | 292.35 | 292.31 | N/A | 0.81 | 0.5085 | 0.27062 | 0.8 | shipped January 25, 2001 batch #19
UC162 | 291.7 | 291.85 | 292.31 | 292.64 | 292.8 | 292.95 | 292.73 | 291.76 | 291.8 | 292.98 | 293.18 | 293.01 | 292.83 | 292.59 | 291.87 | 291.83 | 292.48 | 292.73 | 292.97 | 293.07 | 292.97 | N/A | 1.48 | 0.8675 | 0.48698 | 1.42 | shipped January 25, 2001 batch #19
UC163 | 291.7 | 292.26 | 292.7 | 292.98 | 293.3 | 293.16 | 292.9 | 292 | 291.96 | 293.2 | 293.3 | 293.48 | 293.13 | 292.85 | 292.3 | 292.3 | 292.75 | 293.09 | 293.51 | 293.37 | 293.31 | N/A | 1.81 | 1.1925 | 0.48977 | 1.55 | shipped January 25, 2001 batch #19
UC164 | 291.7 | 291.71 | 292.12 | 292.34 | 292.35 | 292.42 | 292.22 | 291.65 | 291.74 | 292.46 | 292.6 | 292.51 | 292.43 | 292.31 | 291.71 | 291.7 | 292.14 | 292.45 | 292.47 | 292.5 | 292.42 | -0.05 | 0.9 | 0.5125 | 0.32481 | 0.95 | shipped January 25, 2001 batch #19
UC165 | 291.7 | 291.71 | 292.32 | 292.43 | 292.61 | 292.54 | 292.35 | 291.73 | 291.88 | 292.75 | 292.87 | 292.89 | 292.55 | 292.48 | 291.8 | 291.8 | 292.4 | 292.58 | 292.77 | 292.8 | 292.7 | N/A | 1.19 | 0.698 | 0.39872 | 1.18 | shipped January 25, 2001 batch #19
UC166 | 291.7 | 291.7 | 292.28 | 292.5 | 292.48 | 292.6 | 292.49 | 291.69 | 291.69 | 292.61 | 292.74 | 292.51 | 292.23 | 291.98 | 291.48 | 291.76 | 292.21 | 292.5 | 292.56 | 292.72 | 292.58 | -0.22 | 1.04 | 0.5655 | 0.40098 | 1.26 | shipped January 25, 2001 batch #19
UC167 | 291.7 | 291.53 | 292.14 | 292.34 | 292.46 | 292.57 | 292.34 | 291.74 | 291.82 | 292.43 | 292.5 | 292.4 | 292.21 | 292.11 | 291.48 | 291.62 | 292.17 | 292.13 | 292.46 | 292.6 | 292.57 | -0.22 | 0.9 | 0.481 | 0.35991 | 1.12 | shipped February 7, 2001 batch #20
UC168 | 291.7 | 291.55 | 291.96 | 292.37 | 292.47 | 292.53 | 292.4 | 291.92 | 291.83 | 292.46 | 292.56 | 292.53 | 292.31 | 292.11 | 291.6 | 291.53 | 292.05 | 292.29 | 292.45 | 292.56 | 292.54 | -0.17 | 0.86 | 0.501 | 0.35686 | 1.03 | shipped February 7, 2001 batch #20
UC169 | 291.7 | 291.7 | 292.63 | 292.85 | 292.83 | 292.79 | 292.47 | 291.66 | 291.66 | 292.53 | 292.76 | 292.81 | 292.85 | 292.52 | 291.78 | 291.73 | 292.61 | 292.95 | 292.86 | 292.84 | 292.65 | -0.04 | 1.25 | 0.774 | 0.47307 | 1.29 | shipped February 7, 2001 batch #20
UC170 | 291.7 | 291.82 | 292.44 | 292.75 | 292.84 | 292.78 | 292.66 | 291.93 | 291.75 | 292.55 | 292.69 | 292.7 | 292.58 | 292.6 | 291.77 | 291.87 | 292.58 | 292.69 | 292.83 | 292.82 | 292.82 | N/A | 1.14 | 0.7735 | 0.39752 | 1.09 | shipped February 7, 2001 batch #20
UC171 | 291.7 | 291.75 | 292.38 | 292.62 | 293.01 | 293.18 | 292.94 | 291.83 | 292.01 | 292.91 | 293.15 | 293.11 | 292.78 | 292.61 | 291.98 | 291.84 | 292.51 | 292.76 | 293.07 | 293.2 | 293.13 | N/A | 1.5 | 0.9385 | 0.50531 | 1.45 | shipped February 7, 2001 batch #20 | not painted
UC172 | 291.7 | 291.83 | 292.81 | 292.97 | 293.22 | 293.39 | 293.18 | 292.74 | 292.67 | 293.22 | 293.41 | 293.12 | 292.89 | 292.97 | 291.88 | 291.91 | 292.83 | 292.99 | 293.25 | 293.42 | 293.31 | N/A | 1.72 | 1.2005 | 0.49565 | 1.59 | shipped February 7, 2001 batch #20 | not painted
UC173 | 291.7 | 292.15 | 292.66 | 292.98 | 293 | 293.11 | 292.98 | 292.25 | 292.13 | 292.98 | 293.09 | 293.02 | 293 | 292.9 | 292.25 | 292.23 | 292.8 | 292.99 | 293.11 | 293.18 | 293.14 | N/A | 1.48 | 1.0975 | 0.37196 | 1.05 | shipped February 7, 2001 batch #20 | not painted
UC174 | 291.7 | 291.91 | 292.37 | 292.59 | 292.73 | 292.6 | 292.4 | 292.16 | 292.02 | 292.51 | 292.69 | 292.75 | 292.67 | 292.55 | 292.08 | 292.03 | 292.49 | 292.63 | 292.74 | 292.7 | 292.63 | N/A | 1.05 | 0.7625 | 0.27365 | 0.84 | shipped February 7, 2001 batch #20 | not painted
UC175 | 291.7 | 292.09 | 292.88 | 293.27 | 293.63 | 293.69 | 293.3 | 292.39 | 292.29 | 293.74 | 293.84 | 293.69 | 293.4 | 293.01 | 292.02 | 292.07 | 293 | 293.32 | 293.71 | 293.76 | 293.69 | N/A | 2.14 | 1.4395 | 0.63827 | 1.82 | batch #21, shipped March 14, 2001
UC176 | 291.7 | 292.51 | 293.2 | 293.61 | 293.79 | 293.91 | 293.51 | 293.08 | 292.76 | 293.63 | 293.8 | 293.56 | 293.4 | 292.89 | 291.9 | 292.38 | 293.11 | 293.63 | 293.7 | 293.91 | 293.66 | N/A | 2.21 | 1.597 | 0.55932 | 2.01 | batch #21, shipped March 14, 2001
UC177 | 291.7 | 291.73 | 292.13 | 292.4 | 292.58 | 292.68 | 292.46 | 291.94 | 291.51 | 292.72 | 292.77 | 292.68 | 292.62 | 292.36 | 291.58 | 291.63 | 292.28 | 292.59 | 292.7 | 292.79 | 292.62 | -0.19 | 1.09 | 0.6385 | 0.43154 | 1.28 | batch #21, shipped March 14, 2001
UC178 | 291.7 | 291.6 | 292.06 | 292.38 | 292.54 | 292.78 | 292.65 | 291.9 | 291.86 | 292.55 | 292.62 | 292.48 | 292.41 | 292.11 | 291.65 | 291.63 | 292.11 | 292.37 | 292.48 | 292.7 | 292.76 | -0.1 | 1.08 | 0.582 | 0.38889 | 1.18 | batch #21, shipped March 14, 2001 | masters below 5.000
UC179 | 291.7 | 291.61 | 291.94 | 292.09 | 292.34 | 292.44 | 292.28 | 291.47 | 291.62 | 292.52 | 292.56 | 292.32 | 292.08 | 291.7 | 291.44 | 291.73 | 291.84 | 292.13 | 292.37 | 292.55 | 291.42 | -0.28 | 0.86 | 0.3225 | 0.39431 | 1.14 | batch #21, shipped March 14, 2001 | masters at or below 4.960
UC180 | 291.7 | 291.32 | 291.51 | 291.81 | 291.88 | 291.86 | 291.68 | 290.71 | 290.87 | 291.75 | 291.91 | 291.89 | 291.78 | 291.54 | 291.38 | 291.28 | 291.58 | 291.85 | 291.92 | 291.9 | 291.75 | -0.99 | 0.22 | -0.0915 | 0.34594 | 1.21 | batch #21, shipped March 14, 2001 | masters at or below 4.950
UC181 | 291.7 | 291.32 | 291.68 | 291.82 | 292 | 291.99 | 291.88 | 291.44 | 291.5 | 292.19 | 292.3 | 292.27 | 292.19 | 292.03 | 291.63 | 291.48 | 291.7 | 291.94 | 292.13 | 292.15 | 292.06 | -0.38 | 0.6 | 0.185 | 0.2983 | 0.98 | batch #21, shipped March 14, 2001 | masters at or below 4.950
UC182 | 291.7 | 291.39 | 291.9 | 291.99 | 291.95 | 292.1 | 292 | 291.18 | 291.4 | 292.14 | 292.05 | 292.06 | 291.87 | 291.81 | 291.46 | 291.43 | 291.91 | 291.9 | 292.13 | 292.16 | 292.12 | -0.52 | 0.46 | 0.1475 | 0.30194 | 0.98 | batch #21, shipped March 14, 2001 | masters at or below 4.945
UC183 | 291.7 | 291.32 | 291.74 | 291.85 | 292 | 292.02 | 291.92 | 291.35 | 291.43 | 291.9 | 291.93 | 291.91 | 291.72 | 291.58 | 291.38 | 291.36 | 291.58 | 291.83 | 291.88 | 291.93 | 291.98 | -0.38 | 0.32 | 0.0305 | 0.24612 | 0.7 | batch #21, shipped March 14, 2001 | masters at or below 4.940
UC184 | 291.7 | 291.34 | 291.72 | 291.66 | 291.81 | 291.85 | 291.75 | 291.02 | 291.3 | 292.03 | 292.08 | 292.05 | 291.88 | 291.86 | 291.48 | 291.41 | 291.88 | 291.81 | 291.89 | 291.98 | 291.95 | -0.68 | 0.38 | 0.0375 | 0.28569 | 1.06 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC185 | 291.7 | 291.43 | 291.79 | 291.69 | 291.78 | 291.85 | 291.59 | 290.86 | 291.38 | 291.94 | 292.09 | 291.92 | 291.79 | 291.64 | 291.42 | 291.47 | 291.62 | 291.87 | 291.89 | 291.97 | 291.89 | -0.84 | 0.39 | -0.006 | 0.28199 | 1.23 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC186 | 291.7 | 291.19 | 291.58 | 291.56 | 291.75 | 291.85 | 291.66 | 291.4 | 291.58 | 291.89 | 291.87 | 291.88 | 291.79 | 291.66 | 291.26 | 291.18 | 291.6 | 291.75 | 291.78 | 291.78 | 291.79 | -0.52 | 0.19 | -0.06 | 0.2245 | 0.71 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC187 | 291.7 | 291.31 | 291.6 | 291.59 | 291.64 | 291.71 | 291.68 | 291.04 | 291.46 | 291.8 | 291.81 | 291.76 | 291.79 | 291.65 | 291.28 | 291.3 | 291.64 | 291.74 | 291.7 | 291.81 | 291.82 | -0.66 | 0.12 | -0.0935 | 0.21777 | 0.78 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC188 | 291.7 | 291.15 | 291.49 | 291.65 | 291.77 | 291.73 | 291.66 | 291.31 | 291.45 | 291.71 | 291.73 | 291.73 | 291.79 | 291.59 | 291.16 | 291.19 | 291.63 | 291.7 | 291.75 | 291.78 | 291.75 | -0.55 | 0.09 | -0.114 | 0.2178 | 0.64 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC189 | 291.7 | 291.19 | 291.62 | 291.62 | 291.65 | 291.58 | 291.56 | 291.41 | 291.54 | 291.59 | 291.66 | 291.55 | 291.61 | 291.57 | 291.28 | 291.19 | 291.58 | 291.72 | 291.51 | 291.61 | 291.621 | -0.51 | 0.02 | -0.16695 | 0.14949 | 0.53 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC190 | 291.7 | 291.32 | 291.58 | 291.63 | 291.6 | 291.64 | 291.42 | 291.3 | 291.24 | 291.77 | 291.72 | 291.75 | 291.68 | 291.58 | 291.38 | 291.37 | 291.72 | 291.7 | 291.6 | 291.65 | 291.62 | -0.46 | 0.07 | -0.1365 | 0.16349 | 0.53 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC191 | 291.7 | 291.26 | 291.69 | 291.76 | 291.77 | 291.79 | 291.66 | 290.64 | 291.15 | 291.22 | 291.95 | 291.94 | 291.83 | 291.72 | 291.31 | 291.31 | 291.74 | 291.81 | 291.9 | 291.9 | 291.85 | -1.06 | 0.25 | -0.09 | 0.34521 | 1.31 | batch #22, shipped May 9, 2001 | masters at or below 4.940
UC192 | 291.7 | 291.27 | 291.56 | 291.69 | 291.65 | 291.74 | 291.61 | 291.11 | 291.5 | 291.37 | 292.07 | 292.05 | 291.81 | 291.82 | 291.43 | 291.41 | 291.69 | 291.74 | 291.81 | 291.97 | 291.9 | -0.59 | 0.37 | -0.04 | 0.25664 | 0.96 | batch #24, shipped May 29, 2001 | masters at or below 4.940
UC193 | 291.7 | 291.14 | 291.42 | 291.64 | 291.73 | 291.7 | 291.7 | 290.86 | 291.09 | 291.97 | 292.08 | 291.96 | 291.78 | 291.52 | 291.3 | 291.26 | 291.53 | 291.75 | 291.87 | 291.98 | 291.89 | -0.84 | 0.38 | -0.0915 | 0.33708 | 1.22 | batch #24, shipped May 29, 2001 | masters at or below 4.940
UC194 | 291.7 | 291.3 | 291.54 | 291.71 | 291.82 | 291.79 | 292.72 | 291.21 | 291.54 | 291.85 | 291.86 | 291.9 | 291.69 | 291.8 | 291.34 | 291.35 | 291.68 | .291.67 | 291.87 | 291.78 | 291.84 | -0.49 | 1.02 | 0.015263 | 0.32621 | 1.51 | batch #24, shipped May 29, 2001 | masters at or below 4.940
Average-291.7 |  | -0.51687 | -0.41266 | -0.36828 | -0.47524 | -0.54766 | -0.64016 | -0.98344 | -0.92125 | -0.62906 | -0.54672 | -0.4775 | -0.3925 | -0.39391 | -0.54031 | -0.49453 | -0.45219 | -0.40484 | -0.50422 | -0.59355 | -0.69391 | -292.8813 | -292.0252 | -0.6622 | 0.2356 | 0.85615
Minimum-291.7 |  | -1.21 | -0.99 | -0.85 | -1.12 | -1.15 | -1.42 | -1.56 | -1.8 | -1.36 | -1.28 | -1.17 | -0.94 | -1.05 | -1.38 | -1.3 | -1.1 | -0.91 | -1.1 | -1.1 | -1.34 | -293.5 | -292.52 | -1.0165 | 0.13235 | 0.47 | Legend:
Maximum-291.7 |  | 0.26 | 0.29 | 0.31 | 0.28 | 0.38 | 0.24 | 0.13 | 0.14 | 0.28 | 0.4 | 0.49 | 0.5 | 0.44 | 0.35 | 0.36 | 0.36 | 0.39 | 0.28 | 0.18 | 0.11 | -292.2 | -291.36 | -0.049 | 0.435 | 1.4 | Green: Stacked
Purple: Painted
Yellow:Stripped
Global Minimum |  | Quality Control Measurement Point 1: 289.9; Quality Control Measurement Point 3: http://gate.hep.anl.gov/jxp/tile-anl/tile-index.html | [5 empty] | Red: bad submodule or high spot
Global Maximum |  | Quality Control Measurement Point 1: 292.04
Note on W2: HEP: If there is a minimum value(s) less than the nominal (291.70) than the maximum difference is shown. If there is not any found than "N/A" is written.
Note on A2: HEP: Green indicates a stacked submodule. Purple: Painted Yellow: shipped Red: bad submodule
Note on B2: HEP: Red indicates a high point.